

Appendix 3

to

Solar BOT Scope Book

Rev. 0

September 14, 2023

|  |
| --- |
| REVISION RECORD |
| Revision No.  | Approval Date | Section / Page Revised  | Reason / Description of Change |
| 0 | 9/14/2023 | All | Initial Issue |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

# Appendix 3: Performance Guarantees

| **Nº** | **CHARACTERISTICS** | **UNITS** | **DATA** | **NOTES** |
| --- | --- | --- | --- | --- |
| **1** | **MINIMUM CRITERIA** |  |  |  |
| 1.1 | Guaranteed PV Plant Capacity (@ Electrical Interconnection Point (EIP)) | MWac |  | Final |
| 1.2 | Minimum PV Plant Capacity (@Electrical Interconnection Point (EIP)) | MWac |  | Final.95% of Guaranteed PV Plant Capacity |
| 1.3 | Guaranteed Run Requirement | Duration |  | Uninterrupted operation during the Project Performance Test for PV Plant Capacity subject to the Failure Mode Guidelines as set forth in Appendix 7 of this Scope Book |
| 1.4 | Project Net Electricity Production (P50) in Year 1 (starting at the Substantial Completion Payment Date) @ Electrical Interconnection Point (EIP)) | MWh |  | Final |

Notes:

“Final” – Seller may update data or other information for the specified characteristic only with the prior written agreement of Buyer and Seller, which shall not be unreasonably withheld by either Party.

This Appendix is subject to, without limitation, the terms of Section 8.5 of the Scope Book.

**\*\*\* END OF APPENDIX 3 \*\*\***